[image: image8.png]Pressure Loss Curve

o0zng

osiNg.

oaing

oma

sna
osna
ovNa

i

400
Flow Rate (m’h)

100

2 3

3 s
(edy) sso7 ainssaid

0025

EhiRkmsE





Ws 40-200mm
Woltman Vertical Installation type Dry-dial water meter
[image: image1.png]


[image: image2.png]


[image: image3.png]



Application:

--Measuring the total volume of cold water passing through the pipeline.
Note: It is a Vertical Woltman water meter for industril and Irrigation application in sizes from 50 to 200mm for cold meter.
Features
--Removable measruing unit,Inner filter,easy manintance.
-- Dry dial register, Magnetic drive,keep clear reading for long time.
-- Low start flow, low pressure loss at high flowrate, better than vane wheel meter.
--Can make Photoelectric direct reading remote transmission and OUTPUT water meter,Remote transmission device can be added upon request,such as Reed Switch or Hall, Pulse Output:1000L/P、100L/P.
--Technical data conform to international standard ISO 4064.
Working condition 

Water temperature: T30 T50 T90
 Water pressure class: MAP16  MAP10
 Pressure-loss Class: △p63
Accuracy: 

(1) From minimum flow-rate(Q1) inclusive to transitional flow-rate(Q2) exclusive±5%.
(2) From transitional flow-rate(Q2) to overload flow-rate(Q4):±2%;
(Hot water meter ±3%)
MAIN TECHNICAL SPECIFICATIONS 
	TYPE
	Size
mm
	Permanent flow
Q4
	Overload Flow
Q3
	Q3/Q1
	Q2/Q1
	Transmission
Flow
Q2
	Min Flow
Q1
	Min Reading 
	Max
 Reading

	
	
	(m3/h)
	
	
	m3

	WS-40
	1½"
	50
	40
	160
	1.6
	0.4
	0.25
	0.0005

	999,999


	
	
	
	
	
	6.3
	1.58
	
	
	

	WS-50
	2"
	50
	40
	160
	1.6
	0.4
	0.25
	
	

	
	
	
	
	
	6.3
	1.58
	
	
	

	
	
	
	
	200
	1.6
	0.32
	0. 2
	
	

	
	
	
	
	
	6.3
	1.26
	
	
	

	WS-65
	2½"
	50
	40
	160
	1.6
	0.4
	0.25
	
	

	
	
	
	
	
	6.3
	1.58
	
	
	

	
	
	
	
	200
	1.6
	0. 32
	0.2
	
	

	
	
	
	
	
	6.3
	1.26
	
	
	

	WS-80
	3"
	79
	63
	160
	1.6
	0. 63
	0. 39
	
	

	
	
	
	
	
	6.3
	2.48
	
	
	

	
	
	
	
	200
	1.6
	0.5
	0. 32
	
	

	
	
	
	
	
	6.3
	2
	
	
	

	WS-100
	4"
	125
	100
	160
	1.6
	1
	0. 63
	
	

	
	
	
	
	
	6.3
	3.94
	
	
	

	
	
	
	
	200
	1.6
	0.8
	0.5
	
	

	
	
	
	
	
	6.3
	3. 15
	
	
	

	WS-150
	5"
	312
	250
	160
	1.6
	2.5
	1.56
	
	

	
	
	
	
	
	6.3
	9.8
	
	
	

	
	
	
	
	200
	1.6
	2
	1.25
	
	

	
	
	
	
	
	6.3
	7.9
	
	
	

	WS-200
	6"
	500
	400
	160
	1.6
	4
	2.5
	
	

	
	
	
	
	
	6.3
	15.8
	
	
	

	
	
	
	
	200
	1.6
	3.2
	2
	
	

	
	
	
	
	
	6.3
	12.6
	
	
	


DIMENSION
	Type
DN
(mm)
	Length
L

(mm)
	Height
H
(mm)
	CONNECTING flange

	
	
	
	Outside Diameter
D
	Bolt circle diameter
D1 (mn)
	Connecting Bolts
(n-M)

	WS-40
	245
	280
	--
	--
	R1½"(螺纹连接）

	WS-50
	280
	280
	165
	125
	4XM16

	WS-65
	280
	280
	185
	145
	4XM16

	WS-80
	370
	300
	200
	160
	8XM16

	WS-100
	370
	305
	220
	180
	8XM16

	WS-150
	500
	500
	285
	240
	8XM20

	WS-200
	500
	515
	340
	295
	8XM20


[image: image6.png]Hytten

BIENE



[image: image4.png]


[image: image5.png]Error(%)

Flow Error Curve

Q@

MRBREME

@ Qs
Flow Rate (m'/h)




[image: image7.jpg]



	WS-40～200 Woltman Vertical InstallationType Dry-Dial Water Meter

	Code
	Description
	Material
	QTY

	1
	Cover with lid
	Assembly
	1

	2
	Sealed Register
	Assembly
	1

	3
	Screw
	Stainless Steel
	1

	4
	Mechanism
	Assembly
	1

	5
	Body
	Grey cast iron
	1

	6
	Screw
	Stainless Steel
	2

	7
	Screw
	Stainless Steel
	1

	8
	O-ring
	Rubber
	1

	9
	O-ring
	Rubber
	1


LIANYUNGANG HYTTEN METER CO.,LTD.

Address: NO.8 Hanguo Industrial Development Zone,Luoyang village,Dunshang Town,Ganyu District, Lianyungang City.  

Tel：0518-85907891         Fax：0518-85907892
Http：//www. hyttenmeter.com  E-mail：hytten@hyttenmeter.com
LIANYUNGANG HYTTEN METER CO.,LTD

[image: image8.png]