[image: image3.png]Hytten

BREXE





Big Caliber RF Card Smart Water Meter

大口径射频卡智能水表  
                       [image: image1.png]



Application:

--Measuring the total volume of cold(hot) water passing through the pipeline.
-NOTE:This type of water meter can be used for a reading transmission system as equipped with a built-in-sensor
Feature:
--RF water meter uses pre-paid way to achieve new management mode which is “Pay first, then use”
--Show the different price level of the water, one card can used for several meters

--Double reading dispay: mechanical and electronic

--Unique battery protection

--Stable performance, wide application

--Low power consumption and long working life

--Vacuum sealed electronic parts IP68

--Anti-Magnetic function

Working condition:

Water temperature: T30 T50 
Water pressure class:MAP10
Installation environment: Class B
Electromagnetic environment: Class E1
Accurancy:

(1) From minimum flow-rate(Q1) inclusive to transitional flow-rate(Q2) exclusive±5%.
(2) From transitional flow-rate(Q2) to overload flow-rate(Q4):±2%(Hot water meter:; ±3%)
MAIN TECHNICAL SPECIFICATIONS 
	Type
	Size   
	Class
	Q4      Overload        Flow
	Q3    Permanent          Flow
	Q2      Transitional Flow
	Q1
 Min.    Flow
	Min. Reading
	Max. Reading

	
	
	
	m3/h
	m3

	LXLC-50/RF
	2"
	R50
(R80)
	31.25
	25
	0.8
	0.5
	0.0005
	999,999

	LXLC-65/RF
	2½"
	
	50
	40
	1.28
	0.8
	0.0005
	999,999

	LXLC-80/RF
	3"
	
	78.75
	63
	2
	1.26
	0.002
	999,999

	LXLC-100/RF
	4"
	
	125
	100
	3.2
	2
	0.002
	999,999

	LXLC-125/RF
	5"
	
	200
	160
	5.12
	3.2
	0.002
	999,999

	LXLC-150/RF
	6"
	
	312.5
	250
	8
	5
	0.002
	999,999

	LXLC-200/RF
	8"
	
	500
	400
	12.8
	8
	0.002
	999,999

	LXLC-250/RF
	10"
	
	787.5
	630
	20.16
	12.6
	0.02
	999,999

	LXLC-300/RF
	12"
	
	1250
	1000
	32
	20
	0.02
	9,999,999


[image: image2.png]



DIMENSIONS 
	Type
	Size
	Total L
Length
	H
Height
	Connecting flange

	
	
	
	
	φD1             Outside  diameter
	φD2        Bolt circle diameter
	Connecting  Bolts
(n-M)

	
	mm
	
	
	

	LXLC-50/RF
	2"
	420
	335
	165
	125
	4-M16

	LXLC-65/RF
	2½"
	420
	345
	185
	145
	4-M16

	LXLC-80/RF
	3"
	525
	375
	200
	160
	8-M16

	LXLC-100/RF
	4"
	590
	415
	220
	180
	8-M16

	LXLC-125/RF
	5"
	600
	460
	250
	210
	8-M16

	LXLC-150/RF
	6"
	700
	525
	285
	240
	8-M20

	LXLC-200/RF
	8"
	790
	560
	340
	295
	8-M20(1.0MPa)

	
	
	
	
	
	
	12-M20(1.6MPa)

	LXLC-250/RF
	10"
	1000
	660
	395
	350
	12-M20(1.0MPa)

	
	
	
	
	405
	355
	12-M24(1.6MPa)

	LXLC-300/RF
	12"
	1140
	800
	445
	400
	12-M20(1.0MPa)

	
	
	
	
	460
	410
	12-M24(1.6MPa)


LIANYUNGANG HYTTEN METER CO.,LTD.

Address: NO.8 Hanguo Industrial Development Zone,Luoyang village,
Dunshang Town,Ganyu District, Lianyungang City.  

Tel：0518-85907891         Fax：0518-85907892
Http：//www. hyttenmeter.com  E-mail：hytten@hyttenmeter.com
LIANYUNGANG HYTTEN METER CO.,LTD.                                                      Tel:0086-518-85907891

[image: image3.png]